{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["2014年7-9月份数据统计"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2014年7-9月份数据统计","index":0,"n_rows":30,"n_cols":8,"rows_kept":30,"merged":[[0,0,0,4],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[24,0,25,0],[24,1,25,1],[24,2,25,2],[24,3,25,3],[24,4,25,4],[24,5,25,5],[28,0,28,2],[28,3,28,4],[29,0,29,4]],"flags":["formulas_cached_only"]}
["2014年7-9月份各楼（部门）水量消耗公示表"]
["序号","用水区域","责任单位\n（部门）","7-9月消耗量\n（m³）","节水改造\n情况"]
[]
[1,"文科南楼3-5层\n文科楼D区3层","中文系",840,"已完成"]
[2,"文科南楼1-2层\n文科楼北楼5层\n文科楼D区2层","教育系",724,"南楼已完成\n北楼未完成"]
[3,"文科北楼1-4层","教师教育学院",649,"未完成"]
[4,"外语南楼","外国语系、社会科学部、\n大学外语教育部",1913,"未完成"]
[5,"外语北楼","文化传播系、经济与管理系",2963,"未完成"]
[6,"音乐楼","音乐系",1403,"未完成"]
[7,"体育楼","体育系",2164,"未完成"]
[8,"东西操场厕所","各系共用",2875,"未完成"]
[9,"美术楼","美术系",1741,"未完成"]
[10,"图书楼","图书馆",1032,"已完成"]
[11,"实验楼","物理与信息工程系\n化学与化工系\n生命科学与工程系\n文化传播系",4640,"未完成"]
[12,"机电楼南楼","计算机科学系\n化学与化工系",4247,"未完成"]
[13,"机电楼北楼","计算机科学系",4138,"未完成"]
[14,"理科南楼1-2层\n理科北楼1-2层\n理科楼B座2层\n理科楼南楼5层","物理与信息工程系\n",521,"已完成"]
[15,"理科南楼3-4层","生命科学与工程系",783,"已完成"]
[16,"理科北楼3-5层\n理科楼B座3层","数学系",460,"已完成"]
[17,"学生公寓11栋楼","学生工作部公寓管理中心",35237,"宿舍供水已实行“定量管理”"]
[18,"东西餐厅","后勤处餐饮服务中心",2666,"水费上缴财务"]
[19,"校区南大门","安全保卫处",118]
[20,"洗车台","车管科",198]
[21,"后勤维修队","后勤处",62]
[22,"校园绿化灌溉","后勤处",2234]
[]
[23," 济宁校区","继续教育学院、离退休工作处\n后勤处、车管科",670,"已做节水综合治理"]
[24,"行政办公楼","各行政职能部门",281,"已完成"]
["合计",null,null,"72459m³\n（比去年同期降低3.62万m³，10.9万元）"]
["备注：\n1、此数据是以各教学楼（部门）为单位进行统计，为下一步供水实行定量管理提供参考。\n2、待教学楼卫生间三级表全部改装后，将以系部为单位实行“定量包干，超支自负，节余奖励”管理办法。\n\n                                   制表：水电暖管理办公室     时间：2014年10月11日",{"$nulls":6},10.86]